## Results
| TEST RESULTS |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  |  |  | 9 |  | 10 |  | 10 |  | 11 | [5 empty] | 12 |  | 13 |  |  |  | 14 |  | 16
| Version number | Test Case | Annual TDV EUI (excludes Receptacle, Process, Process Ltg) |  | Site Energy EUI - Electricity (excludes Receptacle, Process, Process Ltg) |  | Site Energy EUI - Natural Gas (excludes Receptacle, Process, Process Ltg) |  | Annual Total End Use Site Energy EUI (excludes Receptacle, Process, Process Ltg) |  | Annual End Use Site Energy EUI | [17 empty] | Unmet Load Hours (UMLH) (Heating + Cooling) |  |  |  | Variation from Baseline | [5 empty] | Pass/Fail
| CBECC-Com 2016.3.0 |  | (kBtu/sqft) |  | (kwh/sqft) |  | (therm/sqft) |  | (kBtu/sqft) |  | Heating (kBtu/sqft) |  | Cooling (kBtu/sqft) |  | Interior Lighting (kBtu/sqft) |  | Gas Equipment (kBtu/sqft) |  | Electric Equipment (kBtu/sqft) |  | Fans (kBtu/sqft) |  | Pumps (kBtu/sqft) |  | Tower (kBtu/sqft) |  | Water Heating (kBtu/sqft) |  | Number of Zones with Total UMLH > 150 |  | Zone Max Total UMLH (Hr/yr) |  | TDV % variation |  | Total End Use Site Energy % Variation |  |  |  |  | Floor Area
13 |  |  | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model | Reference Model | Applicant Model
| CBECC-Com 2016.3.0 | 0300006-OffMed-Baseline | 107.641 | 107.641 | 3.4132 | 3.4132 | 0.035504 | 0.035504 | 15.1957 | 15.1957 | 2.4147 | 2.4147 | 5.1088 | 5.1088 | 4.9909 | 4.9909 | 0 | 0 | 14.615 | 14.615 | 1.4358 | 1.4358 | 0.1102 | 0.1102 | 0 | 0 | 1.1354 | 1.1354 | 0 | 0 | 0 | 0 | [7 empty] | 53627.8
| CBECC-Com 2016.3.0 | 0318006-OffMed-BotOpWinNoInterlock | 108.479 | 108.479 | 3.4019 | 3.4019 | 0.040613 | 0.040613 | 15.6679 | 15.6679 | 2.9256 | 2.9256 | 5.0629 | 5.0629 | 4.9909 | 4.9909 | 0 | 0 | 14.615 | 14.615 | 1.4196 | 1.4196 | 0.13363 | 0.13363 | 0 | 0 | 1.1354 | 1.1354 | 0 | 0 | 0 | 0 | 0.7785% | 0.7785% | -0.3311% | -0.0033108 | Yes | Yes | Pass | 53627.8
| CBECC-Com 2016.3.0 | 0318106-OffMed-BotMidOpWinNoInterlock | 109.352 | 109.352 | 3.3836 | 3.3836 | 0.046379 | 0.046379 | 16.182 | 16.182 | 3.5021 | 3.5021 | 5.0206 | 5.0206 | 4.9909 | 4.9909 | 0 | 0 | 14.615 | 14.615 | 1.3958 | 1.3958 | 0.13721 | 0.13721 | 0 | 0 | 1.1354 | 1.1354 | 0 | 0 | 0 | 0 | 1.59% | 1.59% | -0.8659% | -0.0086593 | Yes | Yes | Pass | 53627.8
| CBECC-Com 2016.3.0 | 0318206-OffMed-BotMidTopOpWinNoInterlock | 110.379 | 110.379 | 3.368 | 3.368 | 0.052501 | 0.052501 | 16.741 | 16.741 | 4.1144 | 4.1144 | 4.9849 | 4.9849 | 4.9909 | 4.9909 | 0 | 0 | 14.615 | 14.615 | 1.3721 | 1.3721 | 0.14334 | 0.14334 | 0 | 0 | 1.1354 | 1.1354 | 0 | 0 | 0 | 0 | 2.544% | 2.544% | -1.322% | -0.013221 | Yes | Yes | Pass | 53627.8
x | CBECC-Com 2016.3.0 | 0318306-OffMed-BotMidOpWinNoInterlockTopInterlock | 109.352 | 109.352 | 3.3836 | 3.3836 | 0.046379 | 0.046379 | 16.182 | 16.182 | 3.5021 | 3.5021 | 5.0206 | 5.0206 | 4.9909 | 4.9909 | 0 | 0 | 14.615 | 14.615 | 1.3958 | 1.3958 | 0.13721 | 0.13721 | 0 | 0 | 1.1354 | 1.1354 | 0 | 0 | 0 | 0 | 1.59% | 1.59% | -0.8659% | -0.0086593 | Yes | Yes | Pass | 53627.8
| CBECC-Com 2016.3.0 | 0400006-OffLrg-Baserun | 92.5472 | 92.5472 | 3.1288 | 3.1288 | 0.044071 | 0.044071 | 15.0838 | 15.0838 | 3.29 | 3.29 | 2.3987 | 2.3987 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.7078 | 1.7078 | 1.5699 | 1.5699 | 0.014738 | 0.014738 | 1.1167 | 1.1167 | 0 | 0 | 0 | 0 | [7 empty] | 498589
| CBECC-Com 2016.3.0 | 0418406-OffLrg-TES-ChlrPriority | 92.9957 | 92.9957 | 3.189 | 3.189 | 0.044713 | 0.044713 | 15.3415 | 15.3415 | 3.3543 | 3.3543 | 2.4337 | 2.4337 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.6982 | 1.6982 | 1.7393 | 1.7393 | 0.013499 | 0.013499 | 1.1167 | 1.1167 | 0 | 0 | 0 | 0 | 0.4846% | 0.4846% | 1.923% | 0.019231 | Yes | Yes | Pass | 498589
x | CBECC-Com 2016.3.0 | 0418506-OffLrg-TES-StoPriority | 84.7398 | 84.7398 | 3.2091 | 3.2091 | 0.045357 | 0.045357 | 15.5006 | 15.5006 | 3.4187 | 3.4187 | 2.5758 | 2.5758 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.6891 | 1.6891 | 1.6995 | 1.6995 | 0.014984 | 0.014984 | 1.1167 | 1.1167 | 0 | 0 | 0 | 0 | -8.436% | -8.436% | 2.564% | 0.025641 | No | No | Pass | 498589
| CBECC-Com 2016.3.0 | 0400006-OffLrg-Baserun | 92.5472 | 92.5472 | 3.1288 | 3.1288 | 0.044071 | 0.044071 | 15.0838 | 15.0838 | 3.29 | 3.29 | 2.3987 | 2.3987 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.7078 | 1.7078 | 1.5699 | 1.5699 | 0.014738 | 0.014738 | 1.1167 | 1.1167 | 0 | 0 | 0 | 0 | [7 empty] | 498589
x | CBECC-Com 2016.3.0 | 0419006-OffLrg-ActiveBeam | 101.451 | 101.451 | 3.53 | 3.53 | 0.059747 | 0.059747 | 17.9966 | 17.9966 | 4.8576 | 4.8576 | 3.3909 | 3.3909 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 2.0698 | 2.0698 | 1.552 | 1.552 | 0.023795 | 0.023795 | 1.1167 | 1.1167 | 1 | 1 | 276.75 | 276.75 | 9.621% | 9.621% | 12.82% | 0.12821 | Yes | Yes | Pass | 498589
| CBECC-Com 2016.3.0 | 0419106-OffLrg-PassiveBeam | 103.623 | 103.623 | 3.5901 | 3.5901 | 0.059577 | 0.059577 | 18.1931 | 18.1931 | 4.8407 | 4.8407 | 3.3665 | 3.3665 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 2.0701 | 2.0701 | 1.7923 | 1.7923 | 0.021019 | 0.021019 | 1.1167 | 1.1167 | 2 | 2 | 256 | 256 | 11.97% | 11.97% | 14.74% | 0.14744 | Yes | Yes | Pass | 498589
| CBECC-Com 2016.3.0 | 0418506-OffLrg-TES-StoPriority | 84.7398 | 84.7398 | 3.2091 | 3.2091 | 0.045357 | 0.045357 | 15.5006 | 15.5006 | 3.4187 | 3.4187 | 2.5758 | 2.5758 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.6891 | 1.6891 | 1.6995 | 1.6995 | 0.014984 | 0.014984 | 1.1167 | 1.1167 | 0 | 0 | 0 | 0 | [7 empty] | 498589
| CBECC-Com 2016.3.0 | 0418606-OffLrg-TES-StoTnkShp | 84.7346 | 84.7346 | 3.2091 | 3.2091 | 0.045321 | 0.045321 | 15.4965 | 15.4965 | 3.4151 | 3.4151 | 2.5751 | 2.5751 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.6895 | 1.6895 | 1.6993 | 1.6993 | 0.01498 | 0.01498 | 1.1167 | 1.1167 | 0 | 0 | 0 | 0 | -0.006136% | -0.006136% | 0% | 0 | No | No | Pass | 498589
| CBECC-Com 2016.3.0 | 0418706-OffLrg-TES-StoTnkLoc | 84.8258 | 84.8258 | 3.2291 | 3.2291 | 0.04407 | 0.04407 | 15.4008 | 15.4008 | 3.29 | 3.29 | 2.5891 | 2.5891 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.7089 | 1.7089 | 1.6951 | 1.6951 | 0.015184 | 0.015184 | 1.1167 | 1.1167 | 0 | 0 | 0 | 0 | 0.1015% | 0.1015% | 0.625% | 0.00625 | Yes | Yes | Pass | 498589
x | CBECC-Com 2016.3.0 | 0418806-OffLrg-TES-StoTnkRval | 84.9761 | 84.9761 | 3.2291 | 3.2291 | 0.046627 | 0.046627 | 15.6497 | 15.6497 | 3.5457 | 3.5457 | 2.5956 | 2.5956 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.6821 | 1.6821 | 1.7086 | 1.7086 | 0.015121 | 0.015121 | 1.1167 | 1.1167 | 0 | 0 | 1 | 1 | 0.2789% | 0.2789% | 0.625% | 0.00625 | Yes | Yes | Pass | 498589
x | CBECC-Com 2016.3.0 | 0418906-OffLrg-TES-StoTnkVol | 84.7244 | 84.7244 | 3.2091 | 3.2091 | 0.045079 | 0.045079 | 15.4729 | 15.4729 | 3.3909 | 3.3909 | 2.5754 | 2.5754 | 4.9858 | 4.9858 | 0 | 0 | 14.6453 | 14.6453 | 1.6922 | 1.6922 | 1.6968 | 1.6968 | 0.015112 | 0.015112 | 1.1167 | 1.1167 | 0 | 0 | 0 | 0 | -0.01817% | -0.01817% | 0% | 0 | No | No | Pass | 498589
| CBECC-Com 2016.3.0 | 0500015-RetlMed-Baseline | 252.856 | 252.856 | 9.0338 | 9.0338 | 0.024712 | 0.024712 | 33.2953 | 33.2953 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | [7 empty] | 24563.1
x | CBECC-Com 2016.3.0 | 0519215-RetlMed-HPWtrHtrPckgdEF2x | 255.454 | 255.454 | 9.2988 | 9.2988 | 0.0041897 | 0.0041897 | 32.1476 | 32.1476 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.2491 | 10.2491 | 0 | 0 | 0 | 0 | 0.84695 | 0.84695 | 0 | 0 | 0 | 0 | 1.027% | 1.027% | 2.933% | 0.029329 | Yes | Yes | Pass | 24563.1
x | CBECC-Com 2016.3.0 | 0519315-RetlMed-HPWtrHtrPckgdEF3x | 253.778 | 253.778 | 9.218 | 9.218 | 0.0041897 | 0.0041897 | 31.872 | 31.872 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.2316 | 10.2316 | 0 | 0 | 0 | 0 | 0.58889 | 0.58889 | 0 | 0 | 0 | 0 | 0.3646% | 0.3646% | 2.039% | 0.020388 | Yes | Yes | Pass | 24563.1
| CBECC-Com 2016.3.0 | 0519415-RetlMed-HPWtrHtrSplitTnkCprsrOut | 253.521 | 253.521 | 9.2058 | 9.2058 | 0.0041897 | 0.0041897 | 31.8306 | 31.8306 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.2316 | 10.2316 | 0 | 0 | 0 | 0 | 0.54745 | 0.54745 | 0 | 0 | 0 | 0 | 0.263% | 0.263% | 1.904% | 0.01904 | Yes | Yes | Pass | 24563.1
| CBECC-Com 2016.3.0 | 0519515-RetlMed-HPWtrHtrSplitTnkCprsrIns | 252.365 | 252.365 | 9.1474 | 9.1474 | 0.0058129 | 0.0058129 | 31.7933 | 31.7933 | 0.58115 | 0.58115 | 12.2652 | 12.2652 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.2309 | 10.2309 | 0 | 0 | 0 | 0 | 0.5496 | 0.5496 | 0 | 0 | 0 | 0 | -0.1942% | -0.1942% | 1.257% | 0.012569 | No | No | Pass | 24563.1
| CBECC-Com 2016.3.0 | 0500015-RetlMed-Baseline | 252.856 | 252.856 | 9.0338 | 9.0338 | 0.024712 | 0.024712 | 33.2953 | 33.2953 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | [7 empty] | 24563.1
| CBECC-Com 2016.3.0 | 0519615-RetlMed-UEFConsumerStoGas | 253.448 | 253.448 | 9.0338 | 9.0338 | 0.028833 | 0.028833 | 33.7073 | 33.7073 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.4638 | 2.4638 | 0 | 0 | 0 | 0 | 0.2341% | 0.2341% | 0% | 0 | Yes | Yes | Pass | 24563.1
| CBECC-Com 2016.3.0 | 0519715-RetlMed-UEFConsumerInstGas | 252.544 | 252.544 | 9.0338 | 9.0338 | 0.022551 | 0.022551 | 33.0792 | 33.0792 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 1.8357 | 1.8357 | 0 | 0 | 0 | 0 | -0.1234% | -0.1234% | 0% | 0 | No | No | Pass | 24563.1
| CBECC-Com 2016.3.0 | 0519815-RetlMed-UEFConsumerStoElec | 260.969 | 260.969 | 9.5131 | 9.5131 | 0.0041897 | 0.0041897 | 32.8789 | 32.8789 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 1.6354 | 1.6354 | 0 | 0 | 0 | 0 | 3.209% | 3.209% | 5.305% | 0.053051 | Yes | Yes | Pass | 24563.1
| CBECC-Com 2016.3.0 | 0519915-RetlMed-UEFConsumerInstElec | 261.391 | 261.391 | 9.531 | 9.531 | 0.0041897 | 0.0041897 | 32.9399 | 32.9399 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 1.6964 | 1.6964 | 0 | 0 | 0 | 0 | 3.375% | 3.375% | 5.503% | 0.05503 | Yes | Yes | Pass | 24563.1
x | CBECC-Com 2016.3.0 | 0500015-RetlMed-Baseline | 252.856 | 252.856 | 9.0338 | 9.0338 | 0.024712 | 0.024712 | 33.2953 | 33.2953 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | [7 empty] | 24563.1
x | CBECC-Com 2016.3.0 | 0520015-RetlMed-ExtWall-MtlFrmR0 | 252.858 | 252.858 | 9.0339 | 9.0339 | 0.024712 | 0.024712 | 33.2956 | 33.2956 | 0.41892 | 0.41892 | 12.4665 | 12.4665 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | 0.000791% | 0.000791% | 0.0009013% | 9.0131e-06 | Yes | Yes | Pass | 24563.1
x | CBECC-Com 2016.3.0 | 0520115-RetlMed-ExtWall-WdFrmR0 | 252.773 | 252.773 | 9.0317 | 9.0317 | 0.024685 | 0.024685 | 33.2854 | 33.2854 | 0.41614 | 0.41614 | 12.459 | 12.459 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | -0.03283% | -0.03283% | -0.02343% | -0.00023434 | No | No | Pass | 24563.1
x | CBECC-Com 2016.3.0 | 0520215-RetlMed-ExtWall-MtlWallSingleLyrBatt-R10 | 251.001 | 251.001 | 8.985 | 8.985 | 0.024152 | 0.024152 | 33.0726 | 33.0726 | 0.36287 | 0.36287 | 12.2995 | 12.2995 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | -0.7336% | -0.7336% | -0.5408% | -0.0054079 | No | No | Pass | 24563.1
x | CBECC-Com 2016.3.0 | 0520315-RetlMed-ExtWall-MtlWallDoubleLyrBatt-R13-R13 | 249.396 | 249.396 | 8.9427 | 8.9427 | 0.023696 | 0.023696 | 32.8827 | 32.8827 | 0.3173 | 0.3173 | 12.1552 | 12.1552 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | -1.368% | -1.368% | -1.009% | -0.01009 | No | No | Pass | 24563.1
| CBECC-Com 2016.3.0 | 0500015-RetlMed-Baseline | 252.856 | 252.856 | 9.0338 | 9.0338 | 0.024712 | 0.024712 | 33.2953 | 33.2953 | 0.41887 | 0.41887 | 12.4662 | 12.4662 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 10.1921 | 10.1921 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | [7 empty] | 24563.1
x | CBECC-Com 2016.3.0 | 0520415-RetlMed-MiniSplitAC-EER11.2 | 244.835 | 244.835 | 8.6827 | 8.6827 | 0.027857 | 0.027857 | 32.4114 | 32.4114 | 0.73962 | 0.73962 | 12.4383 | 12.4383 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 9.0154 | 9.0154 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | -3.172% | -3.172% | -3.887% | -0.038874 | No | No | Pass | 24563.1
| CBECC-Com 2016.3.0 | 0520515-RetlMed-MiniSplitHP-COP3.3 | 244.059 | 244.059 | 8.6456 | 8.6456 | 0.027857 | 0.027857 | 32.2849 | 32.2849 | 0.73644 | 0.73644 | 12.315 | 12.315 | 8.1664 | 8.1664 | 0 | 0 | 10.816 | 10.816 | 9.0153 | 9.0153 | 0 | 0 | 0 | 0 | 2.0517 | 2.0517 | 0 | 0 | 0 | 0 | -3.479% | -3.479% | -4.298% | -0.042979 | No | No | Pass | 24563.1

## Sheet1 (hidden)
COPY BatchResults.csv values from cell A1 and paste here @cell B2 |  |  | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73
|  |  | 6: Analysis:; 10: Proposed Model:; 13: Proposed Model; 26: Proposed Model; 39: Proposed Model; 52: Proposed Model; 65: Proposed Model; 68: Proposed Model | Standard Model: |  |  | Standard Model | [12 empty] | Standard Model | [12 empty] | Standard Model | [12 empty] | Standard Model | [12 empty] | Standard Model |  |  | Standard Model | [5 empty] | Proposed Model | [12 empty] | Standard Model | [12 empty] | Calling | Compliance |  |  |  | Secondary
|  |  | 4: Conditioned Floor; 5: Total Floor; 8: Pass /; 9: Compliance; 10: Elapsed; 13: Electric Energy Consumption (kWh); 26: Natural Gas Energy Consumption (therms); 39: Propane Energy Consumption (MBtu); 52: Time Dependent Valuation (kTDV/ft2); 65: TDV by Fuel (kTDV/ft2); 68: Cooling Unmet Load Hours; 71: Heating Unmet Load Hours | Elapsed |  |  | Electric Energy Consumption (kWh) | [12 empty] | Natural Gas Energy Consumption (therms) | [12 empty] | Propane Energy Consumption (MBtu) | [12 empty] | Time Dependent Valuation (kTDV/ft2) | [12 empty] | TDV by Fuel (kTDV/ft2) |  |  | Cooling Unmet Load Hours |  |  | Heating Unmet Load Hours |  |  | Generation Coincident Peak Demand (kW) | [12 empty] | Generation Coincident Peak Demand (kW) | [12 empty] | Application | Manager | Ruleset | OpenStudio | EnergyPlus | Simulation
Floor Area | Start Date & Time | Filename (saved to) | Run Title | Weather Station | Area (SqFt) | Area (SqFt) | Analysis Type | Elapsed Time | Fail | Margin | Time | Rule Eval Status | Simulation Status | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Electric | Natural Gas | Propane | Zone Max | Zone Name | Num Zones Exceed Max | Zone Max | Zone Name | Num Zones Exceed Max | Time | Rule Eval Status | Simulation Status | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Electric | Natural Gas | Propane | Zone Max | Zone Name | Num Zones Exceed Max | Zone Max | Zone Name | Num Zones Exceed Max | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Spc Heating | Spc Cooling | Indoor Fans | Ht Reject | Pumps & Misc | Domestic Hot Water | Indoor Lighting | Comp Total | Receptacle | Process | Other Ltg | Proc Mtrs | TOTAL | Version | Version | Version | Version | Version | Version | Weather File Path | Project Path
| 2017-09-27 00:30 | 0300006-OffMed-Baseline | 300006 | TORRANCE_722955 | 53627.8 | 53627.8 | Title24Compliance | 1:14 | PASS | 0.21 | -- | -- | Successful (141 warnings) | 8.4255 | 80293.1 | 22565.9 | 0 | 1731.96 | 0 | 78440.9 | 183040 | 229701 | 0 | 0 | 0 | 412742 | 1294.95 | 0 | 0 | 0 | 0 | 609.045 | 0 | 1903.99 | 0 | 0 | 0 | 0 | 1903.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.9699 | 54.5276 | 10.8384 | 0 | 0.54667 | 1.6342 | 36.1243 | 107.641 | 109.034 | 0 | 0 | 0 | 216.675 | 211.073 | 5.6014 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (128 warnings) | 9.4758 | 75404.7 | 35578.8 | 0 | 1376.7 | 0 | 72774.6 | 185144 | 229701 | 0 | 0 | 0 | 414846 | 1666.69 | 0 | 0 | 0 | 0 | 640.427 | 0 | 2307.12 | 0 | 0 | 0 | 0 | 2307.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1097 | 50.3225 | 16.9611 | 0 | 0.4354 | 1.7183 | 33.2959 | 107.843 | 109.034 | 0 | 0 | 0 | 216.877 | 210.052 | 6.825 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 00:32 | 0318006-OffMed-BotOpWinNoInterlock | 318006 | TORRANCE_722955 | 53627.8 | 53627.8 | Title24Compliance | 1:14 | FAIL | -0.95 | -- | -- | Successful (141 warnings) | 10.2082 | 79571.8 | 22311 | 0 | 2100.28 | 0 | 78440.9 | 182434 | 229701 | 0 | 0 | 0 | 412136 | 1568.94 | 0 | 0 | 0 | 0 | 609.046 | 0 | 2177.99 | 0 | 0 | 0 | 0 | 2177.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7824 | 54.4863 | 10.784 | 0 | 0.66798 | 1.6342 | 36.1243 | 108.479 | 109.034 | 0 | 0 | 0 | 217.513 | 211.1 | 6.4133 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (128 warnings) | 9.946 | 74558.1 | 35066.5 | 0 | 1430.5 | 0 | 73127.4 | 184192 | 229701 | 0 | 0 | 0 | 413894 | 1746.6 | 0 | 0 | 0 | 0 | 640.427 | 0 | 2387.03 | 0 | 0 | 0 | 0 | 2387.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3522 | 49.8268 | 16.6983 | 0 | 0.45261 | 1.7183 | 33.4712 | 107.519 | 109.034 | 0 | 0 | 0 | 216.553 | 209.486 | 7.0673 | 0 | 0 |  | 0 | 1 | Perimeter_top_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 00:33 | 0318106-OffMed-BotMidOpWinNoInterlock | 318106 | TORRANCE_722955 | 53627.8 | 53627.8 | Title24Compliance | 1:17 | FAIL | -2.17 | -- | -- | Successful (141 warnings) | 12.22 | 78908 | 21937 | 0 | 2156.43 | 0 | 78440.9 | 181455 | 229701 | 0 | 0 | 0 | 411156 | 1878.14 | 0 | 0 | 0 | 0 | 609.046 | 0 | 2487.19 | 0 | 0 | 0 | 0 | 2487.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6769 | 54.5354 | 10.6952 | 0 | 0.68645 | 1.6342 | 36.1243 | 109.352 | 109.034 | 0 | 0 | 0 | 218.386 | 211.079 | 7.3072 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (128 warnings) | 10.5327 | 73608.5 | 34416.6 | 0 | 1475.73 | 0 | 73485.5 | 182997 | 229701 | 0 | 0 | 0 | 412698 | 1846.27 | 0 | 0 | 0 | 0 | 640.427 | 0 | 2486.7 | 0 | 0 | 0 | 0 | 2486.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6488 | 49.3154 | 16.3837 | 0 | 0.46695 | 1.7183 | 33.6494 | 107.183 | 109.034 | 0 | 0 | 0 | 216.216 | 208.853 | 7.3637 | 0 | 0 |  | 0 | 1 | Perimeter_top_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 00:34 | 0318206-OffMed-BotMidTopOpWinNoInterlock | 318206 | TORRANCE_722955 | 53627.8 | 53627.8 | Title24Compliance | 1:15 | FAIL | -3.52 | -- | -- | Successful (141 warnings) | 14.3564 | 78346.2 | 21565.6 | 0 | 2252.8 | 0 | 78440.9 | 180620 | 229701 | 0 | 0 | 0 | 410321 | 2206.48 | 0 | 0 | 0 | 0 | 609.046 | 0 | 2815.53 | 0 | 0 | 0 | 0 | 2815.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6162 | 54.6823 | 10.6059 | 0 | 0.71666 | 1.6342 | 36.1243 | 110.379 | 109.034 | 0 | 0 | 0 | 219.413 | 211.168 | 8.2458 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (128 warnings) | 11.1446 | 72845.4 | 33702.1 | 0 | 1525.75 | 0 | 73843.6 | 181928 | 229701 | 0 | 0 | 0 | 411629 | 1949.34 | 0 | 0 | 0 | 0 | 640.427 | 0 | 2589.77 | 0 | 0 | 0 | 0 | 2589.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.951 | 48.9132 | 15.9736 | 0 | 0.48288 | 1.7183 | 33.8276 | 106.867 | 109.034 | 0 | 0 | 0 | 215.9 | 208.235 | 7.6658 | 0 | 0 |  | 0 | 0.75 | Perimeter_top_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 00:36 | 0318306-OffMed-BotMidOpWinNoInterlockTopInterlock | 318306 | TORRANCE_722955 | 53627.8 | 53627.8 | Title24Compliance | 1:16 | FAIL | -2.5 | -- | -- | Successful (141 warnings) | 12.22 | 78908 | 21937 | 0 | 2156.43 | 0 | 78440.9 | 181455 | 229701 | 0 | 0 | 0 | 411156 | 1878.14 | 0 | 0 | 0 | 0 | 609.046 | 0 | 2487.19 | 0 | 0 | 0 | 0 | 2487.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6769 | 54.5354 | 10.6952 | 0 | 0.68645 | 1.6342 | 36.1243 | 109.352 | 109.034 | 0 | 0 | 0 | 218.386 | 211.079 | 7.3072 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (128 warnings) | 11.1446 | 72845.4 | 33702.1 | 0 | 1525.75 | 0 | 73843.6 | 181928 | 229701 | 0 | 0 | 0 | 411629 | 1949.34 | 0 | 0 | 0 | 0 | 640.427 | 0 | 2589.77 | 0 | 0 | 0 | 0 | 2589.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.951 | 48.9132 | 15.9736 | 0 | 0.48288 | 1.7183 | 33.8276 | 106.867 | 109.034 | 0 | 0 | 0 | 215.9 | 208.235 | 7.6658 | 0 | 0 |  | 0 | 0.75 | Perimeter_top_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 00:39 | 0400006-OffLrg-Baserun | 400006 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 3:18 | PASS | 1.15 | -- | -- | Successful (152 warnings) | 106.733 | 350505 | 249550 | 2153.58 | 229400 | 0 | 728541 | 1560000 | 2140000 | 0 | 0 | 0 | 3700000 | 16404.1 | 0 | 0 | 0 | 0 | 5568.97 | 0 | 21973.1 | 0 | 0 | 0 | 0 | 21973.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1418 | 26.0215 | 12.3966 | 0.27038 | 11.0686 | 1.6072 | 36.041 | 92.5472 | 109.034 | 0 | 0 | 0 | 201.581 | 194.836 | 6.7454 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 00:45 | 0418406-OffLrg-TES-ChlrPriority | 418406 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 5:22 | PASS | 0.7 | -- | -- | Successful (153 warnings) | 108.816 | 355624 | 248146 | 1972.53 | 254147 | 0 | 728541 | 1590000 | 2140000 | 0 | 0 | 0 | 3720000 | 16724.4 | 0 | 0 | 0 | 0 | 5568.97 | 0 | 22293.3 | 0 | 0 | 0 | 0 | 22293.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2377 | 25.685 | 12.3372 | 0.25188 | 11.8357 | 1.6072 | 36.041 | 92.9957 | 109.034 | 0 | 0 | 0 | 202.03 | 195.188 | 6.8413 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 00:50 | 0418506-OffLrg-TES-StoPriority | 418506 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 5:19 | PASS | 8.97 | -- | -- | Successful (159 warnings) | 110.905 | 376382 | 246817 | 2189.5 | 248340 | 0 | 728541 | 1600000 | 2140000 | 0 | 0 | 0 | 3740000 | 17045.4 | 0 | 0 | 0 | 0 | 5568.98 | 0 | 22614.4 | 0 | 0 | 0 | 0 | 22614.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3342 | 19.1443 | 12.2447 | 0.15167 | 10.2167 | 1.6072 | 36.041 | 84.7398 | 109.034 | 0 | 0 | 0 | 193.774 | 186.836 | 6.9376 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 00:55 | 0418606-OffLrg-TES-StoTnkShp | 418606 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 5:15 | PASS | 8.96 | -- | -- | Successful (159 warnings) | 110.79 | 376279 | 246868 | 2188.88 | 248312 | 0 | 728541 | 1600000 | 2140000 | 0 | 0 | 0 | 3740000 | 17027.7 | 0 | 0 | 0 | 0 | 5568.98 | 0 | 22596.7 | 0 | 0 | 0 | 0 | 22596.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3289 | 19.1419 | 12.2481 | 0.15166 | 10.2158 | 1.6072 | 36.041 | 84.7346 | 109.034 | 0 | 0 | 0 | 193.769 | 186.836 | 6.9324 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:01 | 0418706-OffLrg-TES-StoTnkLoc | 418706 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 5:11 | PASS | 8.88 | -- | -- | Successful (159 warnings) | 106.73 | 378326 | 249711 | 2218.65 | 247690 | 0 | 728541 | 1610000 | 2140000 | 0 | 0 | 0 | 3740000 | 16403.8 | 0 | 0 | 0 | 0 | 5568.97 | 0 | 21972.7 | 0 | 0 | 0 | 0 | 21972.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1418 | 19.2713 | 12.4146 | 0.1536 | 10.1963 | 1.6072 | 36.041 | 84.8258 | 109.034 | 0 | 0 | 0 | 193.86 | 187.114 | 6.7454 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:06 | 0418806-OffLrg-TES-StoTnkRval | 418806 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 5:15 | PASS | 8.72 | -- | -- | Successful (159 warnings) | 115.027 | 379280 | 245796 | 2209.48 | 249665 | 0 | 728541 | 1610000 | 2140000 | 0 | 0 | 0 | 3740000 | 17678.8 | 0 | 0 | 0 | 0 | 5568.99 | 0 | 23247.8 | 0 | 0 | 0 | 0 | 23247.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5153 | 19.2219 | 12.1711 | 0.1521 | 10.2675 | 1.6072 | 36.041 | 84.9761 | 109.034 | 0 | 0 | 0 | 194.01 | 186.891 | 7.1186 | 0 | 0 |  | 0 | 1 | Basement Thermal Zone | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:11 | 0418906-OffLrg-TES-StoTnkVol | 418906 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 5:24 | PASS | 8.98 | -- | -- | Successful (159 warnings) | 110.003 | 376327 | 247265 | 2208.14 | 247945 | 0 | 728541 | 1600000 | 2140000 | 0 | 0 | 0 | 3740000 | 16906.8 | 0 | 0 | 0 | 0 | 5568.98 | 0 | 22475.8 | 0 | 0 | 0 | 0 | 22475.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.293 | 19.1557 | 12.272 | 0.15245 | 10.203 | 1.6072 | 36.041 | 84.7244 | 109.034 | 0 | 0 | 0 | 193.758 | 186.862 | 6.8965 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:19 | 0419006-OffLrg-ActiveBeam | 419006 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 7:44 | FAIL | -7.76 | -- | -- | Successful (6 severe errors, 169 warnings) | 158.742 | 495481 | 302450 | 3477.03 | 226777 | 0 | 728541 | 1760000 | 2140000 | 0 | 0 | 0 | 3890000 | 24220 | 0 | 0 | 0 | 0 | 5568.97 | 0 | 29789 | 0 | 0 | 0 | 0 | 29789 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3121 | 31.6582 | 14.2557 | 0.33616 | 10.241 | 1.6072 | 36.041 | 101.451 | 109.034 | 0 | 0 | 0 | 210.485 | 201.572 | 8.9131 | 0 | 276 | Perimeter_mid_ZN_1 Thermal Zone | 1 | 0.75 | Core_mid Thermal Zone | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:26 | 0419106-OffLrg-PassiveBeam | 419106 | TORRANCE_722955 | 498589 | 498589 | Title24Compliance | 6:21 | FAIL | -9.92 | -- | -- | Successful (5 severe errors, 169 warnings) | 158.111 | 491920 | 302482 | 3071.36 | 261896 | 0 | 728541 | 1790000 | 2140000 | 0 | 0 | 0 | 3920000 | 24135.5 | 0 | 0 | 0 | 0 | 5568.98 | 0 | 29704.5 | 0 | 0 | 0 | 0 | 29704.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2752 | 32.2449 | 14.2534 | 0.31456 | 11.8871 | 1.6072 | 36.041 | 103.623 | 109.034 | 0 | 0 | 0 | 212.657 | 203.781 | 8.8762 | 0 | 234 | Perimeter_mid_ZN_1 Thermal Zone | 2 | 22 | Core_mid Thermal Zone | 0 | -- | -- | Successful (152 warnings) | 92.4303 | 281111 | 393223 | 38999.1 | 102538 | 0 | 728544 | 1540000 | 2140000 | 0 | 0 | 0 | 3680000 | 15761.4 | 0 | 0 | 0 | 0 | 5567.39 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 21328.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0275 | 22.3124 | 20.0317 | 3.0116 | 5.6728 | 1.6068 | 36.0411 | 93.7039 | 109.034 | 0 | 0 | 0 | 202.738 | 196.107 | 6.6311 | 0 | 0 |  | 0 | 1.25 | Perimeter_hi_ZN_3 Thermal Zone | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:26 | 0500015-RetlMed-Baseline | 500015 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:51 | FAIL | -41.45 | -- | -- | Successful (90 warnings) | 0 | 89740.7 | 73369.9 | 0 | 0 | 0 | 58788 | 221899 | 77659.4 | 0 | 202.152 | 0 | 299760 | 102.912 | 0 | 0 | 0 | 0 | 504.088 | 0 | 607 | 0 | 0 | 0 | 0 | 607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70895 | 122.226 | 69.2988 | 0 | 0 | 2.9765 | 57.6453 | 252.856 | 77.5842 | 0 | 0.19678 | 0 | 330.637 | 326.951 | 3.6854 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 547.345 | 0 | 918.514 | 0 | 0 | 0 | 0 | 918.514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2313 | 55.5721 | 211.425 | 77.5842 | 0 | 0.42273 | 0 | 289.432 | 283.579 | 5.8534 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:27 | 0519215-RetlMed-HPWtrHtrPckgdEF2x | 519215 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:51 | FAIL | -44 | -- | -- | Successful (95 warnings) | 0 | 89740.7 | 73780.9 | 0 | 0 | 6096.96 | 58788 | 228407 | 77659.4 | 0 | 202.152 | 0 | 306268 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70895 | 122.226 | 69.6334 | 0 | 0 | 5.2403 | 57.6453 | 255.454 | 77.5842 | 0 | 0.19678 | 0 | 333.235 | 332.526 | 0.70895 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 554.36 | 0 | 925.529 | 0 | 0 | 0 | 0 | 925.529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2723 | 55.5721 | 211.466 | 77.5842 | 0 | 0.42273 | 0 | 289.473 | 283.579 | 5.8944 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:28 | 0519315-RetlMed-HPWtrHtrPckgdEF3x | 519315 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:51 | FAIL | -42.33 | -- | -- | Successful (95 warnings) | 0 | 89740.7 | 73654.8 | 0 | 0 | 4239.24 | 58788 | 226423 | 77659.4 | 0 | 202.152 | 0 | 304284 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70895 | 122.226 | 69.5319 | 0 | 0 | 3.6661 | 57.6453 | 253.778 | 77.5842 | 0 | 0.19678 | 0 | 331.559 | 330.85 | 0.70895 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 554.36 | 0 | 925.529 | 0 | 0 | 0 | 0 | 925.529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2723 | 55.5721 | 211.466 | 77.5842 | 0 | 0.42273 | 0 | 289.473 | 283.579 | 5.8944 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:29 | 0519415-RetlMed-HPWtrHtrSplitTnkCprsrOut | 519415 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:51 | FAIL | -42.07 | -- | -- | Successful (95 warnings) | 0 | 89740.7 | 73654.8 | 0 | 0 | 3940.94 | 58788 | 226124 | 77659.4 | 0 | 202.152 | 0 | 303986 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70895 | 122.226 | 69.5319 | 0 | 0 | 3.409 | 57.6453 | 253.521 | 77.5842 | 0 | 0.19678 | 0 | 331.302 | 330.593 | 0.70895 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 554.36 | 0 | 925.529 | 0 | 0 | 0 | 0 | 925.529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2723 | 55.5721 | 211.466 | 77.5842 | 0 | 0.42273 | 0 | 289.473 | 283.579 | 5.8944 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:30 | 0519515-RetlMed-HPWtrHtrSplitTnkCprsrIns | 519515 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:50 | FAIL | -40.91 | -- | -- | Successful (101 warnings) | 0 | 88293.7 | 73649.8 | 0 | 0 | 3956.45 | 58788 | 224688 | 77659.4 | 0 | 202.152 | 0 | 302549 | 142.782 | 0 | 0 | 0 | 0 | 0 | 0 | 142.782 | 0 | 0 | 0 | 0 | 142.782 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99049 | 120.581 | 69.5519 | 0 | 0 | 3.596 | 57.6453 | 252.365 | 77.5842 | 0 | 0.19678 | 0 | 330.146 | 329.155 | 0.99049 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 554.36 | 0 | 925.529 | 0 | 0 | 0 | 0 | 925.529 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2723 | 55.5721 | 211.466 | 77.5842 | 0 | 0.42273 | 0 | 289.473 | 283.579 | 5.8944 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:31 | 0519615-RetlMed-UEFConsumerStoGas | 519615 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:50 | FAIL | -41.95 | -- | -- | Successful (90 warnings) | 0 | 89740.7 | 73369.9 | 0 | 0 | 0 | 58788 | 221899 | 77659.4 | 0 | 202.152 | 0 | 299760 | 102.912 | 0 | 0 | 0 | 0 | 605.324 | 0 | 708.236 | 0 | 0 | 0 | 0 | 708.236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70895 | 122.226 | 69.2988 | 0 | 0 | 3.5689 | 57.6453 | 253.448 | 77.5842 | 0 | 0.19678 | 0 | 331.229 | 326.951 | 4.2779 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 562.211 | 0 | 933.379 | 0 | 0 | 0 | 0 | 933.379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.3183 | 55.5721 | 211.512 | 77.5842 | 0 | 0.42273 | 0 | 289.519 | 283.579 | 5.9404 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:32 | 0519715-RetlMed-UEFConsumerInstGas | 519715 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:49 | FAIL | -40.7 | -- | -- | Successful (90 warnings) | 0 | 89740.7 | 73369.9 | 0 | 0 | 0 | 58788 | 221899 | 77659.4 | 0 | 202.152 | 0 | 299760 | 102.912 | 0 | 0 | 0 | 0 | 451.012 | 0 | 553.924 | 0 | 0 | 0 | 0 | 553.924 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70895 | 122.226 | 69.2988 | 0 | 0 | 2.6651 | 57.6453 | 252.544 | 77.5842 | 0 | 0.19678 | 0 | 330.325 | 326.951 | 3.3741 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 622.587 | 0 | 993.755 | 0 | 0 | 0 | 0 | 993.755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.6716 | 55.5721 | 211.866 | 77.5842 | 0 | 0.42273 | 0 | 289.873 | 283.579 | 6.2937 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:33 | 0519815-RetlMed-UEFConsumerStoElec | 519815 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:50 | FAIL | -49.05 | -- | -- | Successful (90 warnings) | 0 | 89740.7 | 73369.9 | 0 | 0 | 11772.6 | 58788 | 233671 | 77659.4 | 0 | 202.152 | 0 | 311533 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70895 | 122.226 | 69.2988 | 0 | 0 | 11.0902 | 57.6453 | 260.969 | 77.5842 | 0 | 0.19678 | 0 | 338.75 | 338.041 | 0.70895 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 634.86 | 0 | 1006.03 | 0 | 0 | 0 | 0 | 1006.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.7434 | 55.5721 | 211.938 | 77.5842 | 0 | 0.42273 | 0 | 289.945 | 283.579 | 6.3655 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:34 | 0519915-RetlMed-UEFConsumerInstElec | 519915 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:49 | FAIL | -49.54 | -- | -- | Successful (90 warnings) | 0 | 89740.7 | 73369.9 | 0 | 0 | 12211.7 | 58788 | 234110 | 77659.4 | 0 | 202.152 | 0 | 311972 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 102.912 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70895 | 122.226 | 69.2988 | 0 | 0 | 11.5123 | 57.6453 | 261.391 | 77.5842 | 0 | 0.19678 | 0 | 339.173 | 338.464 | 0.70895 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 622.587 | 0 | 993.755 | 0 | 0 | 0 | 0 | 993.755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.6716 | 55.5721 | 211.866 | 77.5842 | 0 | 0.42273 | 0 | 289.873 | 283.579 | 6.2937 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:35 | 0520015-RetlMed-ExtWall-MtlFrmR0 | 520015 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:50 | FAIL | -41.45 | -- | -- | Successful (90 warnings) | 0 | 89742.9 | 73369.9 | 0 | 0 | 0 | 58788 | 221901 | 77659.4 | 0 | 202.152 | 0 | 299762 | 102.925 | 0 | 0 | 0 | 0 | 504.088 | 0 | 607.013 | 0 | 0 | 0 | 0 | 607.013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70905 | 122.228 | 69.2988 | 0 | 0 | 2.9765 | 57.6453 | 252.858 | 77.5842 | 0 | 0.19678 | 0 | 330.639 | 326.953 | 3.6855 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 547.345 | 0 | 918.514 | 0 | 0 | 0 | 0 | 918.514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2313 | 55.5721 | 211.425 | 77.5842 | 0 | 0.42273 | 0 | 289.432 | 283.579 | 5.8534 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:35 | 0520115-RetlMed-ExtWall-WdFrmR0 | 520115 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:51 | FAIL | -41.36 | -- | -- | Successful (90 warnings) | 0 | 89689.1 | 73369.9 | 0 | 0 | 0 | 58788 | 221847 | 77659.4 | 0 | 202.152 | 0 | 299708 | 102.242 | 0 | 0 | 0 | 0 | 504.088 | 0 | 606.33 | 0 | 0 | 0 | 0 | 606.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70412 | 122.148 | 69.2988 | 0 | 0 | 2.9765 | 57.6453 | 252.773 | 77.5842 | 0 | 0.19678 | 0 | 330.554 | 326.873 | 3.6806 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 547.345 | 0 | 918.514 | 0 | 0 | 0 | 0 | 918.514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2313 | 55.5721 | 211.425 | 77.5842 | 0 | 0.42273 | 0 | 289.432 | 283.579 | 5.8534 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:36 | 0520215-RetlMed-ExtWall-MtlWallSingleLyrBatt-R10 | 520215 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:50 | FAIL | -39.59 | -- | -- | Successful (90 warnings) | 0 | 88541 | 73369.9 | 0 | 0 | 0 | 58788 | 220699 | 77659.4 | 0 | 202.152 | 0 | 298560 | 89.1536 | 0 | 0 | 0 | 0 | 504.087 | 0 | 593.241 | 0 | 0 | 0 | 0 | 593.241 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.60943 | 120.471 | 69.2988 | 0 | 0 | 2.9765 | 57.6453 | 251.001 | 77.5842 | 0 | 0.19678 | 0 | 328.782 | 325.196 | 3.5859 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 547.345 | 0 | 918.514 | 0 | 0 | 0 | 0 | 918.514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2313 | 55.5721 | 211.425 | 77.5842 | 0 | 0.42273 | 0 | 289.432 | 283.579 | 5.8534 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:37 | 0520315-RetlMed-ExtWall-MtlWallDoubleLyrBatt-R13-R13 | 520315 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:51 | FAIL | -37.99 | -- | -- | Successful (90 warnings) | 0 | 87501.9 | 73369.9 | 0 | 0 | 0 | 58788 | 219660 | 77659.4 | 0 | 202.152 | 0 | 297521 | 77.9578 | 0 | 0 | 0 | 0 | 504.087 | 0 | 582.045 | 0 | 0 | 0 | 0 | 582.045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.52931 | 118.946 | 69.2988 | 0 | 0 | 2.9765 | 57.6453 | 249.396 | 77.5842 | 0 | 0.19678 | 0 | 327.177 | 323.671 | 3.5058 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1435 | 99366.4 | 17499.4 | 0 | 601.514 | 0 | 56504.6 | 173974 | 77659.4 | 0 | 424.5 | 0 | 252058 | 371.169 | 0 | 0 | 0 | 0 | 547.345 | 0 | 918.514 | 0 | 0 | 0 | 0 | 918.514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6236 | 131.548 | 18.027 | 0 | 0.42315 | 3.2313 | 55.5721 | 211.425 | 77.5842 | 0 | 0.42273 | 0 | 289.432 | 283.579 | 5.8534 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:38 | 0520415-RetlMed-MiniSplitAC-EER11.2 | 520415 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:50 | FAIL | -38.27 | -- | -- | Successful (86 warnings) | 45.7505 | 89539.7 | 64899.2 | 0 | 0 | 0 | 58788 | 213273 | 77659.4 | 0 | 202.152 | 0 | 291134 | 180.156 | 0 | 0 | 0 | 0 | 504.088 | 0 | 684.243 | 0 | 0 | 0 | 0 | 684.243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2927 | 120.936 | 61.985 | 0 | 0 | 2.9765 | 57.6453 | 244.835 | 77.5842 | 0 | 0.19678 | 0 | 322.616 | 318.379 | 4.2374 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1805 | 95985.1 | 17450.7 | 0 | 704.52 | 0 | 56504.6 | 170647 | 77659.4 | 0 | 424.5 | 0 | 248731 | 383.321 | 0 | 0 | 0 | 0 | 547.346 | 0 | 930.666 | 0 | 0 | 0 | 0 | 930.666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7038 | 126.665 | 17.9207 | 0 | 0.49466 | 3.2313 | 55.5721 | 206.588 | 77.5842 | 0 | 0.42273 | 0 | 284.595 | 278.661 | 5.9336 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\
| 2017-09-27 01:39 | 0520515-RetlMed-MiniSplitHP-COP3.3 | 520515 | PALM-SPRINGS-INTL_722868 | 24563.1 | 24692.3 | Title24Compliance | 0:50 | FAIL | -37.49 | -- | -- | Successful (88 warnings) | 22.9118 | 88652.3 | 64898.8 | 0 | 0 | 0 | 58788 | 212362 | 77659.4 | 0 | 202.152 | 0 | 290224 | 180.154 | 0 | 0 | 0 | 0 | 504.088 | 0 | 684.242 | 0 | 0 | 0 | 0 | 684.242 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2769 | 120.175 | 61.9848 | 0 | 0 | 2.9765 | 57.6453 | 244.059 | 77.5842 | 0 | 0.19678 | 0 | 321.84 | 317.602 | 4.2374 | 0 | 0 |  | 0 | 0 |  | 0 | -- | -- | Successful (79 warnings) | 2.1805 | 95985.1 | 17450.7 | 0 | 704.52 | 0 | 56504.6 | 170647 | 77659.4 | 0 | 424.5 | 0 | 248731 | 383.321 | 0 | 0 | 0 | 0 | 547.346 | 0 | 930.666 | 0 | 0 | 0 | 0 | 930.666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7038 | 126.665 | 17.9207 | 0 | 0.49466 | 3.2313 | 55.5721 | 206.588 | 77.5842 | 0 | 0.42273 | 0 | 284.595 | 278.661 | 5.9336 | 0 | 0 |  | 0 | 0 |  | 0 | [26 empty] | CBECC-Com 2016.3.0 (963) | BEMCmpMgr 2016.3.0 (5160) | CA 2016 Nonresidential, Vers. 2.0 | 1.11.3.f52686d8e1 | 8.5 | - | D:\Public\Documents\CBECC-Com 2016.3.0 Data\EPW\ | D:\Public\Documents\CBECC-Com 2016.3.0 Projects\BatchOut_170927_v3-SST_DG\

## Sheet3 (hidden)
Small Office Building (02000CZ-OffSml) | Medium Office Building ((0300CZ-OffMed)) | Large Office Building (0400CZ-OffLrg) | Stand-alone Retail (0500CZ-RetlMed) | Strip Mall-PSZ System (1000CZ-RetlStrp)
5500 | 53627.8 | 498589 | 24563.1 | 22500
(90.8 ft x 60.5ft) | (163.8 ft x 109.2 ft) | (240 ft x 160 ft) | (178 ft x 139 ft) | (300 ft x 75 ft)